## in
cf | El | capex[USD] | lcoh[USD/kg] | FOM_PV[USD] | FOM_WIND[USD] | FOM_EL[USD] | FOM_UG[USD] | H_total[kg] | pv_capacity[kW] | wind_capacity[kW] | el_capacity[kW] | ug_capcaity[kgH2] | pipe_storage_capacity[kgH2] | bat_e_capacity[kWh] | bat_p_capacity[kW] | pv_cost[USD] | wind_cost[USD] | el_cost[USD] | ug_storage_cost[USD] | pipe_storage_cost[USD] | bat_cost[USD] | load[kg/s] | C_trans[USD] | C_pipe[USD] | LCOH-wind | LCOH-el | LCOH-UG | LCOH-pipe-storage | LCOH-trans | LCOH-pipe | pv_capacity_FN219[kW] | pv_capacity_FN220[kW] | pv_capacity_FN221[kW] | pv_capacity_FN222[kW] | pv_capacity_FN223[kW] | pv_capacity_FN224[kW] | pv_capacity_FN225[kW] | pv_capacity_FN226[kW] | pv_capacity_FO219[kW] | pv_capacity_FO220[kW] | pv_capacity_FO221[kW] | pv_capacity_FO222[kW] | pv_capacity_FO223[kW] | pv_capacity_FO224[kW] | pv_capacity_FO225[kW] | pv_capacity_FO226[kW] | pv_capacity_FO227[kW] | pv_capacity_FP219[kW] | pv_capacity_FP220[kW] | pv_capacity_FP221[kW] | pv_capacity_FP222[kW] | pv_capacity_FP223[kW] | pv_capacity_FP224[kW] | pv_capacity_FP225[kW] | pv_capacity_FP226[kW] | pv_capacity_FP227[kW] | pv_capacity_FQ219[kW] | pv_capacity_FQ220[kW] | pv_capacity_FQ221[kW] | pv_capacity_FQ222[kW] | pv_capacity_FQ223[kW] | pv_capacity_FQ224[kW] | pv_capacity_FQ225[kW] | pv_capacity_FQ226[kW] | pv_capacity_FQ227[kW] | pv_capacity_FR219[kW] | pv_capacity_FR220[kW] | pv_capacity_FR221[kW] | pv_capacity_FR222[kW] | pv_capacity_FR223[kW] | pv_capacity_FR224[kW] | pv_capacity_FR225[kW] | pv_capacity_FR226[kW] | pv_capacity_FR227[kW] | pv_capacity_FR228[kW] | pv_capacity_FS219[kW] | pv_capacity_FS223[kW] | pv_capacity_FS224[kW] | pv_capacity_FS225[kW] | pv_capacity_FS226[kW] | pv_capacity_FS227[kW] | pv_capacity_FS228[kW] | pv_capacity_FT219[kW] | pv_capacity_FT223[kW] | pv_capacity_FT224[kW] | pv_capacity_FT225[kW] | pv_capacity_FT226[kW] | pv_capacity_FT227[kW] | pv_capacity_FT228[kW] | pv_capacity_FU223[kW] | pv_capacity_FU224[kW] | pv_capacity_FU225[kW] | pv_capacity_FU226[kW] | pv_capacity_FU227[kW] | pv_capacity_FU228[kW] | wind_capacity_FN219[kW] | wind_capacity_FN220[kW] | wind_capacity_FN221[kW] | wind_capacity_FN222[kW] | wind_capacity_FN223[kW] | wind_capacity_FN224[kW] | wind_capacity_FN225[kW] | wind_capacity_FN226[kW] | wind_capacity_FO219[kW] | wind_capacity_FO220[kW] | wind_capacity_FO221[kW] | wind_capacity_FO222[kW] | wind_capacity_FO223[kW] | wind_capacity_FO224[kW] | wind_capacity_FO225[kW] | wind_capacity_FO226[kW] | wind_capacity_FO227[kW] | wind_capacity_FP219[kW] | wind_capacity_FP220[kW] | wind_capacity_FP221[kW] | wind_capacity_FP222[kW] | wind_capacity_FP223[kW] | wind_capacity_FP224[kW] | wind_capacity_FP225[kW] | wind_capacity_FP226[kW] | wind_capacity_FP227[kW] | wind_capacity_FQ219[kW] | wind_capacity_FQ220[kW] | wind_capacity_FQ221[kW] | wind_capacity_FQ222[kW] | wind_capacity_FQ223[kW] | wind_capacity_FQ224[kW] | wind_capacity_FQ225[kW] | wind_capacity_FQ226[kW] | wind_capacity_FQ227[kW] | wind_capacity_FR219[kW] | wind_capacity_FR220[kW] | wind_capacity_FR221[kW] | wind_capacity_FR222[kW] | wind_capacity_FR223[kW] | wind_capacity_FR224[kW] | wind_capacity_FR225[kW] | wind_capacity_FR226[kW] | wind_capacity_FR227[kW] | wind_capacity_FR228[kW] | wind_capacity_FS219[kW] | wind_capacity_FS223[kW] | wind_capacity_FS224[kW] | wind_capacity_FS225[kW] | wind_capacity_FS226[kW] | wind_capacity_FS227[kW] | wind_capacity_FS228[kW] | wind_capacity_FT219[kW] | wind_capacity_FT223[kW] | wind_capacity_FT224[kW] | wind_capacity_FT225[kW] | wind_capacity_FT226[kW] | wind_capacity_FT227[kW] | wind_capacity_FT228[kW] | wind_capacity_FU223[kW] | wind_capacity_FU224[kW] | wind_capacity_FU225[kW] | wind_capacity_FU226[kW] | wind_capacity_FU227[kW] | wind_capacity_FU228[kW]
100 | FS228 | 2330510948.5043 | 3.5099 | 0 | 17823242.8996 | 31029149.2236 | 2948007.3209 | 66698640 | 0 | 955669.8606 | 829656.3964 | 2862143.03 | 0 | 0 | 0 | 0 | 1390499647.1294 | 885243374.9099 | 5215969.4578 | 0 | 0 | 2.115 | 27275245.0323 | 22283581.1182 | 1.8981 | 1.5035 | 0.050316 | 0 | 0.031989 | 0.026135 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 436800 | 0 | 0 | 0 | 0 | 0 | 0 | 447200 | 0 | 0 | 0 | 0 | 0 | 0 | 71669.8606 | 0 | 0 | 0 | 0 | 0 | 0